## Table
International and European standards in the field of Nondestructive Testing - Issue 21-6-2025
(UPDATED 19.06.25)
NOTES: This table is solely intended as a guide to available international NDT standards. Use the filters to help search for the required standard The user should always check for the current standard and the date given in this table was the best knowledge at the time of editing.
NDT METHOD / Technique | TOPIC | ISO | [5 empty] | BS & EN & Others
|  | TC | SC | Type | Number | Title | Year | TC | WG | Type | Number | Title | Year
1. General Standards | General | ISO/CASCO+C8:N389 | - | ISO/IEC | 17024 | Conformity assessment - General requirements for bodies operating certification of persons | 2012 | CLC/TJC 1 | 2 | EN ISO/IEC | 17024 | Conformity assessment - General requirements for bodies operating certification of persons | 2012
1. General Standards | General | 135 | 7 | ISO | 9712 | Qualification and certification of NDT personnel | 2021 | 138 | - | EN ISO | 9712 | Qualification and certification of NDT personnel | 2022
1. General Standards | General | 135 | 7 | ISO | 20807 | Qualification of personnel for limited application of non-destructive testing | 2004
1. General Standards | General | 135 | 7 | ISO/TS | 11774 | Non-destructive testing - Performance-based qualification | 2011
1. General Standards | General | 135 | 7 | ISO | 18490 | Evaluation of vision acuity of NDT personnel | 2015 | 138 | 12 | EN ISO | 18490 | Evaluation of vision acuity of NDT personnel | 2015
1. General Standards | General | 135 | 7 | ISO/TS | 25107 | NDT Training syllabuses | 2019 | 138 | - | CEN ISO/TS | 25107 | NDT Trainng syllabuses | 2019
1. General Standards | General | 135 | 7 | ISO/TS | 25108 | NDT personnel training organizations | 2018 | 138 | - | CEN ISO/TS | 25108 | NDT personnel training organizations | 2018
1. General Standards | General | 135 | 7 | ISO/TS | 22809 | Discontinuities in specimens for use in qualification examinations | 2007 |  |  | CEB/TS | 15053 | Discontinuities in specimens for use in qualification examinations | 2005
1. General Standards | General | [6 empty] | 138 | 9 | CEN/TR | 14748 | Methodology for qualification of non-destructive tests | 2004
1. General Standards | General | [6 empty] | 138 | - | CEN/TR | 16332 | Code of practice for the approval of NDT personnel by recognised third party organisations under the provisions of Directive 97/23/EC | 2014
1. General Standards | General, welds | 44 | 5 | ISO | 17635 | Non-destructive testing of welds - General rules for metallic materials | 2016 | 121 | 21 | EN ISO | 17635 | Non-destructive testing of welds - General rules for metallic materials | 2016
1. General Standards | General, welds | 44 | 7 | ISO | 6520-1 | Welding and allied processes - Classification of geometric imperfections in metallic materials - Part 1: Fusion welding | 2007 | 121 | - | EN ISO | 6520-1 | Welding and allied processes - Classification of geometric imperfections in metallic materials - Part 1: Fusion welding | 2007
1. General Standards | General, welds | 44 | 7 | ISO | 6520-2 | Welding and allied processes - Classification of geometric imperfections in metallic materials - Part 2: Welding with pressure | 2013 | 121 | - | EN ISO | 6520-2 | Welding and allied processes - Classification of geometric imperfections in metallic materials - Part 2: Welding with pressure | 2013
1. General Standards | General, welds | 44 | 10 | ISO | 5817 | Welding - Fusion-welded joints in steel, nickel, titanium and their alloys (beam welding excluded) Quality level for imperfections | 2023 | 121 | 4 | EN ISO | 5817 | Welding - Fusion-welded joints in steel, nickel, titanium and their alloys (beam welding excluded) Quality level for imperfections | 2023
1. General Standards | General, welds | 44 | 10 | ISO | 10042 | Welding - Arc-welded joints in aluminium and its alloys - Quality level for imperfections | 2018 | 121 | 4 | EN ISO | 10042 | Welding - Arc-welded joints in aluminium and its alloys - Quality level for imperfections | 2018
1. General Standards | General, welds | 44 | 10 | ISO | 13919-1 | Electron and laser-beam welded joints - Requirements and recommendations on quality level for imperfections - Part 1: Steel, nickel, titanium and their alloys | 2019 | 121 | 4 | EN ISO | 13919-1 | Electron and laser-beam welded joints - Requirements and recommendations on quality level for imperfections - Part 1: Steel, nickel, titanium and their alloys | 2019
1. General Standards | General, welds | 44 | 10 | ISO | 13919-2 | Electron and laser-beam welded joints - Requirements and recommendations on quality level for imperfections - Part 2: Aluminium, magnesium and their alloys and pure copper | 2019 | 121 | 4 | EN ISO | 13919-2 | Electron and laser-beam welded joints - Requirements and recommendations on quality level for imperfections - Part 2: Aluminium, magnesium and their alloys and pure copper | 2019
1. General Standards | General, welds | [6 empty] | 121 | 21 | CEN/TR | 15135 | Welding - Design and non-destructive testing of welds | 2005
1. General Standards | General, welds | 44 | 13 | ISO | 18279 | Brazing - Imperfections in brazed joints | 2023 | 121 | - | EN ISO | 18279 | Brazing - Imperfections in brazed joints | 2023
1. General Standards | General, welds | [6 empty] | 121 | 20 | EN | 12799 | Brazing - Non-destructive examination of brazed joints | 2000 +A1:2003
1. General Standards | General, steel | 17 | 19 | ISO | 11484 | Steel products - Employer's qualification system for non-destructive testing (NDT) personnel | 2019
1. General Standards | General, railway | [6 empty] | 256 | 50 | EN | 16729-3 | Railway applications - Infrastructure - Non-destructive testing on rails in track - Part 3: Requirements for identifying internal and surface rail defects | 2018
1. General Standards | General, railway | [6 empty] | 256 | 50 | EN | 16729-4 | Railway applications - Infrastructure - Non-destructive testing on rails in track - Part 4: Qualification of personnel for non-destructive testing on rails | 2018
1. General Standards | General, railway | [6 empty] | 256 | 50 | EN | 16729-5 | Railway applications - Infrastructure - Non-destructive testing on rails in track - Part 5: Non-destructive testing on welds in track | 2023
1. General Standards | General, railway | [6 empty] | 256 | 50 | FprCEN/TR | 16729-6 | Railway applications - Infrastructure - Non-destructive testing on rails in track - Part 6: Non-destructive testing of manganese cast steel components in switches and crossings | -
1. General Standards | General, railway | [6 empty] | 256 | 11 | EN | 16910-1 | Railway applications - Rolling stock - Requirements for non-destructive testing on running gear in railway maintenance - Part 1: Wheelsets | 2018
1. General Standards | General, aerospace | [6 empty] | ASD/STAN | - | EN | 4179 | Aerospace series - Qualification and approval of personnel for non-destructive testing | 2021
1. General Standards | General, terminology | [6 empty] | 138 | - | EN | 1330-1 | Terminology - Part 1: List of general terms | 2014
1. General Standards | General, terminology | [6 empty] | 138 | - | EN | 1330-2 | Terminology - Part 2: Test common to the non-destructive testing methods | 1998
1. General Standards | Aerospace | [8 empty] | BS 5T | 100 | Aerospace series. Procedure for inspection, testing and acceptance of seamless steel tubes and tubestock | 2010
1. General Standards | Aerospace | [8 empty] | BS EN | 2950 | Aerospace series. Test method. Wrought heat resisting alloys. Semifinished products and parts. Conditions for macrographic and micrographic examination. Atlas of structures and defects | 2008
1. General Standards | Aerospace | [8 empty] | BS 4HR | 100 | Procedure for inspection, testing and acceptance of wrought heat-resisting alloys | 2010 +A1 2012
1. General Standards | Aerospace | [8 empty] | BS M | 38 | Guide to compilation of instructions and reports for the in-service non-destructive testing of aerospace products | 1971
1. General Standards | Concrete | [8 empty] | BS | 1881-206 | Testing concrete. Recommendations on the use of electromagnetic covermeters | 1986
1. General Standards | Concrete |  |  | ISO | 1920 | Testing of concrete. Non-destructive tests on hardened concrete | 2004
1. General Standards | Concrete | [8 empty] | BS | 1881-204 | Testing concrete. Recommendations on the use of electromagnetic covermeters | 1998
1. General Standards | General |  |  | ISO | 9000 | Quality management systems, Fundamentals and vocabulary | 2015 |  |  | EN ISO | 9000 | Quality management systems, Fundamentals and vocabulary | 2015
1. General Standards | General |  |  | ISO | 9001 | Quality management systems, Requirements | 2022 |  |  | EN ISO | 9001 | Quality management systems, Requirements | 2022
1. General Standards | General Steel Products |  |  | ISO | 11484 | Steel products. Employer’s qualification system for non-destructive testing (NDT) personnel | 2019 |  |  | EN ISO | 11484 | Steel products. Employer’s qualification system for non-destructive testing (NDT) personnel | 2019
1. General Standards | General qualification |  |  | ISO/TS | 11774 | Non-destructive testing. Performance-based qualification | 2011 |  |  | ISO/TS | 11774 | Non-destructive testing. Performance-based qualification | 2011
1. General Standards | General | [8 empty] | PD/CR | 13935 | Non-destructive testing. Generic NDE data format model | 2000
1. General Standards | General | [8 empty] | DD CEN/TS | 15053 | Non-destructive testing. Generic NDE data format model | 2005
1. General Standards | General certification | [8 empty] | PD/CEN/TR | 15589 | Non-destructive testing. Code of practice for the approval of NDT personnel by recognised third-party organisations under the provisions of Directive 97/23/EC | 2014
1. General Standards | General Certification | [8 empty] | PD/CEN/TR | 16332 | Non-destructive testing. Interpretation of EN ISO/IEC 17024 for NDT personnel certification application | 2012
1. General Standards | General Qualification |  |  | ISO | 17000 | Conformity assessment. Vocabulary and general principles | 2020 |  |  | EN ISO/IEC | 17000 | Conformity assessment. Vocabulary and general principles | 2020
1. General Standards | General Qualification |  |  | ISO | 17021-2 | Conformity assessment. Requirements for bodies providing audit and certification of management systems. Requirements |  |  |  | EN ISO/IEC | 17021-1 | Conformity assessment. Requirements for bodies providing audit and certification of management systems. Requirements | 2015
1. General Standards | General Certification |  |  | ISO | 17021-2 | Conformity assessment. Requirements for bodies providing audit and certification of management systems. Competence requirements for auditing and certification of environmental management systems |  |  |  | EN ISO/IEC | 17021-2 | Conformity assessment. Requirements for bodies providing audit and certification of management systems. Competence requirements for auditing and certification of environmental management systems | 2018
1. General Standards | General Certification |  |  | ISO | 17025 | General requirements for the competence of testing and calibration laboratories |  |  |  | EN ISO/IEC | 17025 | General requirements for the competence of testing and calibration laboratories | 2017
1. General Standards | General |  |  | ISO | 17030 | Conformity assessment. General requirements for third-party marks of conformity |  |  |  | EN ISO/IEC | 17030 | Conformity assessment. General requirements for third-party marks of conformity | 2021
1. General Standards | General Conformity assessment |  |  | ISO | 17050 | Conformity assessment. Supplier’s declaration of conformity. General requirements |  |  |  | EN ISO/IEC | 17050 | Conformity assessment. Supplier’s declaration of conformity. General requirements | 2010
1. General Standards | General Conformity assessment |  |  | ISO | 17065 | Conformity assessment. Requirements for bodies certifying products, processes and services |  |  |  | EN ISO/IEC | 17065 | Conformity assessment. Requirements for bodies certifying products, processes and services | 2012
1. General Standards | General |  |  | ISO | 18173 | Non-destructive testing. General terms and definitions | 2005
1. General Standards | Civil Engineering, Certification | [8 empty] | DIN | 4871 | Qualification of NDT Personnel in Civil Engineering
1. General Standards | Civil Engineering, Certification | [8 empty] | DIN | 4873 | Certification of NDT personnel in Civil Engineering | 2024-03
1. General Standards | General Certification |  |  | ISO | 18490 | Non-destructive testing. Evaluation of vision acuity of NDT personnel | 2015 |  |  | EN ISO | 18490 | Non-destructive testing. Evaluation of vision acuity of NDT personnel | 2015
1. General Standards | General | [8 empty] | BS | 7910 | Guide to methods for assessing the acceptability of flaws in metallic structures | 2019
1. General Standards | General |  |  | ISO | 11463 | Corrosion of metals and alloys. Guidelines for the evaluation of pitting corrosion |  |  |  | BS/EN/ISO | 11463 | Corrosion of metals and alloys. Guidelines for the evaluation of pitting corrosion | 2020
1. General Standards | General, Welds | [8 empty] | BS M | 42 | Methods for non-destructive testing of fusion and resistance welds in thin gauge materials | 1972
1. General Standards | General, Welds | [8 empty] | PD/CEN/TR | 15135 | Welding. Design and non-destructive testing of welds | 2005
1. General Standards | General, Forgings | [8 empty] | BS | 8562 | Gas cylinders. In situ, non-destructive examination and testing of refillable seamless steel tubes of water capacity between 150 L and 3000 L, used for compressed gases. | 2011
1. General Standards | General, Coatings |  |  | ISO | 3882 | Metallic and other inorganic coatings. Review of methods of measurement of thickness |  |  |  | BS EN | 3882 | Metallic and other inorganic coatings. Review of methods of measurement of thickness | 2024
1. General Standards | Imaging (NDE 4.0) | [8 empty] | ASTM E | E2339 | Digital Imaging and Communication in Nondestructive Evaluation (DICONDE)
1. General Standards | Imaging (NDE 4.0) | [8 empty] | ASTM E | E2699 | Guide for Digital Imaging for NDE
1. General Standards | Imaging (NDE 4.0) | [8 empty] | ASTM E | E2737 | Digital Detector Array Performance Evaluation
1. General Standards | Equipment and tools (NDE 4.0) | [8 empty] | ASTM E | E2597 | Manufacturing Characterization of Digital Detector Arrays
1. General Standards | General, Coatings | [8 empty] | BS | M 40 | Methods for measuring coating thickness by non-destructive testing | 1972
2. Acoustic emission (АТ) | General | 135 | 9 | ISO | 18081 | Acoustic emission testing (AT) - Leak detection by means of acoustic emission | 2024 | 138 | 7 | EN ISO | 18081 | Acoustic emission testing (AT) - Leak detection by means of acoustic emission | 2024
2. Acoustic emission (АТ) | General | [6 empty] | 138 | 7 | EN | 13554 | Acoustic emission testing - General principles | 2011
2. Acoustic emission (АТ) | General | [6 empty] | 138 | 7 | EN | 14584 | Acoustic emission testing - Examination of metallic pressure equipment during proof testing - Planar location of AE sources | 2013
2. Acoustic emission (АТ) | General | [6 empty] | 138 | 7 | EN | 15856 | Acoustic emission - Testing of fibre-reinforced polymers - Specific methodology and general evaluation criteria | 2010
2. Acoustic emission (АТ) | General | [6 empty] | 138 | 7 | EN | 15857 | Acoustic emission - General principles of AE testing for the detection of corrosion with metallic surrounding filled with liquid | 2010
2. Acoustic emission (АТ) | General | [6 empty] | 138 | 7 | EN | 15495 | Acoustic emission - Examination of metallic pressure equipment during proof testing - Zone location of AE sources | 2007
2. Acoustic emission (АТ) | General | 135 | 9 | ISO | 16836 | Acousting emission testing - Measurement method for acoustic emission signals in concrete | 2019
2. Acoustic emission (АТ) | General | 135 | 9 | ISO | 16837 | Acoustic emission testing - Test method for damage qualification of reinforced concrete beams | 2019
2. Acoustic emission (АТ) | General | 135 | 9 | ISO | 16838 | Acoustic emission testing - Test method for classification of active cracks in concrete structures | 2019
2. Acoustic emission (АТ) | General | 135 | 9 | ISO | 18249 | Acoustic emission testing - Specific methodology and general evaluation criteria for testing of fibre-reinforced polymers | 2015
2. Acoustic emission (АТ) | General | 135 | 9 | ISO | 19835 | Acoustic emission testing - Steel structures of overhead travelling cranes and portal breidge cranes | 2018
2. Acoustic emission (АТ) | General | 135 | 9 | ISO | 24367 | Acoustic emission testing - Metallic pressure equipment | 2023
2. Acoustic emission (АТ) | General | 135 | 9 | ISO | 24489 | Acousting emission testing - Detection of corrosion at atmospheric and low-pressure storage tank floors | 2024
2. Acoustic emission (АТ) | General | 135 | 9 | ISO | 24543 | Acousting emission testing - Verification of the receiving spectra of piezoelectric acoustic sensors | 2022
2. Acoustic emission (АТ) | General | 135 | 9 | ISO/TR | 13115 | Methods of absolute calibration of acoustic emission transducers by the reciprocity technique | 2011 | 138 | 7 | CEN/ISO TR | 13115 | Methods of absolute calibration of acoustic emission transducers by the reciprocity technique | 2011
2. Acoustic emission (АТ) | Equipment and tools | [6 empty] | 138 | 7 | EN | 13477-1 | Acoustic emission - Equipment characterisation - Part 1: Equipment description | 2001
2. Acoustic emission (АТ) | Equipment and tools | [6 empty] | 138 | 7 | EN | 13477-2 | Acoustic emission - Equipment characterisation - Part 2: Verification of operating characteristics | 2021
2. Acoustic emission (АТ) | Equipment and tools | 135 | 9 | ISO | 12713 | Acoustic emission inspection Primary calibration of transducers | 1998
2. Acoustic emission (АТ) | Equipment and tools | 135 | 9 | ISO | 12714 | Acoustic emission inspection Secondary calibration of acoustic emission sensors | 1999
2. Acoustic emission (АТ) | Terminology | [6 empty] | 138 | 7 | EN | 1330-9 | Terminology - Part 9: Terms used in acoustic emission testing | 2017
2. Acoustic emission (АТ) | Testing |  |  | ISO | 16148 | Gas cylinders. Refillable seamless steel gas cylinders and tubes. Acoustic emission examination (AT) and follow-up ultrasonic examination (UT) for periodic inspection and testing |  |  |  | Bs EN ISO | 16148 | Gas cylinders. Refillable seamless steel gas cylinders and tubes. Acoustic emission examination (AT) and follow-up ultrasonic examination (UT) for periodic inspection and testing | 2016 + A1 2020
2. Acoustic emission (АТ) | Concrete |  |  | ISO | 16836 | Non destructive testing. Accoustic emission testing. Measurement method for acoustic examination (signals in concrete |  |  |  | BS ISO | 16836 | Non destructive testing. Accoustic emission testing. Measurement method for acoustic examination (signals in concrete | 2019
2. Acoustic emission (АТ) | Testing | [8 empty] | BS EN | 17391 | Non-destructive testing. Acoustic emission testing. In-service acoustic emission monitoring of metallic pressure equipment and structures. General requirements | 2022
2. Acoustic emission (АТ) | Testing |  |  | ISO | 22096 | Condition monitoring and diagnostics of machines. Acoustic emission |  |  |  | BS ISO | 22096 | Condition monitoring and diagnostics of machines. Acoustic emission | 2007
2. Acoustic emission (АТ) | Terminology | [8 empty] | BS EN | 1330-1? | Non-destructive testing. Terminology. Terms used in acoustic emission testing | 2017
2. Acoustic emission (АТ) | Terminology | 135 | 9 | ISO &ISO/CD | 12716 | Acoustic emission inspection - Vocabulary | 2001 | 138 | 7 | prEN | 12176 | Terminology - Part 9: Terms used in acoustic emission testing | -
3. Eddy current testing (ET) | General | 135 | 4 | ISO | 15549 | Eddy current testing - General principles | 2017 | 138 | 3 | EN ISO | 15549 | Eddy current testing - General principles
3. Eddy current testing (ET) | Welds (w) | 44 | 5 | ISO | 17643 | Non-destructive testing of welds - Eddy current examination of welds by complex plane analysis | 2015
3. Eddy current testing (ET) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-1 | Non-destructive testing of steel tubes - Part 1: Automated electromagnetic testing of seamless and welded (except submerged arc-welded)steel tubes for the verification of hydraulic leaktightness | 2011 | 459/ SC10 | - | EN ISO | 10893-1 | Non-destructive testing of steel tubes - Part 1: Automated electromagnetic testing of seamless and welded (except submerged arc-welded)steel tubes for the verification of hydraulic leaktightness | 2011
3. Eddy current testing (ET) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-2 | Non-destructive testing of steel tubes - Part 2: Automated eddy current testing of seamless and welded (except submerged arc-welded)steel tubes for the detection of imperfections | 2011+Amd 1:2020 | 459/ SC10 | - | EN ISO | 10893-1 | Non-destructive testing of steel tubes - Part 1: Automated electromagnetic testing of seamless and welded (except submerged arc-welded)steel tubes for the verification of hydraulic leaktightness | 2011 +A1:2020
3. Eddy current testing (ET) | Railway | [6 empty] | 256 | 50 | EN | 16729-2 | Railway applications - Infrastructure - Non-destructive testing on rails in track - Part 2: Eddy current testing of rails in track | 2020
3. Eddy current testing (ET) | Aerospace | [6 empty] | ASD-STAN | - | EN | 2004-1 | Aerospace series. Test methods for aluminium and aluminium alloy products. Part 1: Determination of electrical conductivity of wrough aluminium alloys | 1993
3. Eddy current testing (ET) | Aerospace | [6 empty] | ASD-STAN |  |  | 2004-5 | Aerospace series. Test methods for aluminium and aluminium alloy products. Part 5: Determination of cladding thickness and copper diffusion of clad semi-finished products | 1993
3. Eddy current testing (ET) | Aerospace | [6 empty] | ASD-STAN | - | EN | 2004-7 | Aerospace series. Test methods for aluminium and aluminium alloy products. Part 7: Reference blocks for the calibration of measuring equipment used in the determination of electrical conductivity of wrough aluminium alloys | 2017
3. Eddy current testing (ET) | Special techniques | 135 | 4 | ISO | 20669 | Pulsed eddy current testing of ferromagnetic metallic components | 2017
3. Eddy current testing (ET) | Equipment and tools | 135 | 4 | ISO | 15548-1 | Equipment for eddy current examination - Part 1: Instrument characteristics and verification | 2013 | 138 | 3 | EN ISO | 15548-1 | Equipment for eddy current examination - Part 1: Instrument characteristics and verification | 2013
3. Eddy current testing (ET) | Equipment and tools | 135 | 4 | ISO | 15548-2 | Equipment for eddy current examination - Part 2: Probe characteristics and verification | 2013 | 138 | 3 | EN ISO | 15548-2 | Equipment for eddy current examination - Part 2: Probe characteristics and verification | 2013
3. Eddy current testing (ET) | Equipment and tools | 135 | 4 | ISO | 15548-3 | Equipment for eddy current examination - Part 3: System characteristics and verification | 2008 | 138 | 3 | EN ISO | 15548-3 | Equipment for eddy current examination - Part 3: System characteristics and verification | 2008
3. Eddy current testing (ET) | Equipment and tools | 135 | 4 | ISO | 20339 | Equipment for eddy current examination - Array probe characteristics and verification | 2017 | 138 | 3 | EN ISO | 20339 | Equipment for eddy current examination - Array probe characteristics and verification | 2017
3. Eddy current testing (ET) | Thickness of coatings |  |  | ISO | 2360 | Non-conductive coatings on non-magnetic electrically conductive base metals. Measurement of coating thickness. Amplitude-sensitive eddy current method |  |  |  | BS/EN | 2360 | Non-conductive coatings on non-magnetic electrically conductive base metals. Measurement of coating thickness. Amplitude-sensitive eddy current method | 2017
3. Eddy current testing (ET) | Ferromagnetic components |  |  | ISO | 20669 | Non-destructive testing. Pulsed eddy current testing of ferromagnetic metallic components |  |  |  | BS ISO | 20669 | Non-destructive testing. Pulsed eddy current testing of ferromagnetic metallic components | 2017
3. Eddy current testing (ET) | Copper | [8 empty] | BS EN | 1971-1 | Copper and copper alloys. Eddy current test for measuring defects on seamless round copper and copper alloy tubes. Test with an encircling test coil on the outer surface | 2019
3. Eddy current testing (ET) | Copper | [8 empty] | BS EN | 1971-2 | Copper and copper alloys. Eddy current test for measuring defects on seamless round copper and copper alloy tubes. Test with an internal probe on the inner surface | 2019
3. Eddy current testing (ET) | Titanium, pipes |  |  | ISO | 25902 | Titanium pipes and tubes. Non-destructive testing. Eddy current examination | 2009
3. Eddy current testing (ET) | Terminology | 135 | 4 | ISO | 12178 | Eddy current testing - Vocabulary | 2019 | 138 | 3 | EN ISO | 12178 | Eddy current testing - Vocabulary | 2019
4. Magnetic particle testing (МТ) | General | 135 | 2 | ISO | 9934-1 | Magnetic Particle Testing - Part 1: General Principles | 2015 | 138 | 5 | EN ISO | 9934-1 | Magnetic Particle Testing - Part 1: General Principles | 2016
4. Magnetic particle testing (МТ) | General | 135 | 2 | ISO | 9934-2 | Magnetic Particle Testing - Part 2: Detection Media | 2015 | 138 | 5 | EN ISO | 9934-2 | Magnetic Particle Testing - Part 2: Detection Media | 2014
4. Magnetic particle testing (МТ) | General | 135 | 2 | ISO | 9934-3 | Magnetic Particle Testing - Part 3: Equipment | 2015 | 138 | 5 | EN ISO | 9934-3 | Magnetic Particle Testing - Part 2: Equipment | 2016
4. Magnetic particle testing (МТ) | General | 135 | 2 | ISO | 3059 | Penetrant testing and magnetic particle testing - Viewing conditions | 2012 | 138 | - | EN ISO | 3059 | Penetrant testing and magnetic particle testing - Viewing conditions | 2012
4. Magnetic particle testing (МТ) | General | [6 empty] | 138 | 4 | CEN/TR | 16338 | Penetrant and magnetic particle testing using blue light | 2014
4. Magnetic particle testing (МТ) | General | [6 empty] | 138 | 4 | CEN/TR | 17108 | Lighting in penetrant and magentic particle testing, good practice | 2017
4. Magnetic particle testing (МТ) | Welds (w) | 44 | 5 | ISO | 17638 | Non-destructive testing of welds -Magnetic particle testing | 2016 | 121 | 5 | EN ISO | 17638 | Non-destructive testing of welds -Magnetic particle testing | 2016
4. Magnetic particle testing (МТ) | Welds (w) | 44 | 5 | ISO | 23278 | Non-destructive testing of welds -Magnetic particle testing - Acceptance levels | 2015 | 121 | 5 | EN ISO | 23278 | Non-destructive testing of welds -Magnetic particle testing - Acceptance levels | 2015
4. Magnetic particle testing (МТ) | Castings (c) | 17 | 11 | ISO | 4986 | Steel and iron castings - Magnetic particle testing | 2020 |  |  | BS ISO | 4986 | Steel and iron castings. Magnetic particle testing | 2020
4. Magnetic particle testing (МТ) | Castings (c) | [6 empty] | 190 | 11 | EN | 1369 | founding - Magnetic particle testing | 2012
4. Magnetic particle testing (МТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-3 | Non-destructive testing of steel tubes - Part 3: Automated full peripheral flux leakage testing of seamless and welded (except submerged arc-welded) ferromagnetic steel tubes for the detection of longitudinal and/or transverse imperfections | 2011+Amd 1:2019 +Amd 2:2020 | 459/ SC10 | - | EN ISO | 10893-3 | Non-destructive testing of steel tubes - Part 3: Automated full peripheral flux leakage testing of seamless and welded (except submerged arc-welded) ferromagnetic steel tubes for the detection of longitudinal and/or transverse imperfections | 2011+A1:2019+A2:2020
4. Magnetic particle testing (МТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-5 | Non-destructive testing of steel tubes - Part 5: Magnetic particle inspection of seamless and welded ferromagnetic steel tubes for the detection of surface imperfections | 2011 | 459/ SC10 | - | EN ISO | 10893-5 | Non-destructive testing of steel tubes - Part 5: Magnetic particle inspection of seamless and welded ferromagnetic steel tubes for the detection of surface imperfections | 2011
4. Magnetic particle testing (МТ) | Forgings | [6 empty] | 459/SC 11 | - | EN | 10228-1 | Non.destructive testing of steel forgings - Part 1: Magnetic particle inspection | 2016
4. Magnetic particle testing (МТ) | Railway | 17 | 15 | ISO | 6933 | Railway rolling stock materiao -Magnetic particle acceptance testing | 1986
4. Magnetic particle testing (МТ) | Special technique | 135 | 2 | ISO/CD | 22500 | Magnetic flux leakage testing - Corrosion of steel plates and steel pipes of in-service equipment | -
4. Magnetic particle testing (МТ) | Terminology | 135 | 2 | ISO | 12707 | Magnetic Particle Testing - Vocabulary | 2016 | 138 | 5 | EN ISO | 12707 | Magnetic Particle Testing - Vocabulary | 2016
4. Magnetic particle testing (МТ) | General |  |  | PD | 6513 | Method for magnetic particle flaw detection | 1985 |  |  | BS | 6072 | Method for magnetic particle flaw detection | 1981
4. Magnetic particle testing (МТ) | General | [6 empty] | 138 | 4 | PD CEN/TR | 16638 | Non-destructive testing. Penetrant and magnetic particle testing using blue light | 2014
4. Magnetic particle testing (МТ) | Terminology | IIW | - | ISO | 24497-1 | Non-destructive testing - Metal magnetic memory - Part 1: Vocabulary and general requirements |  |  |  | BS | 24497-1 | Non-destructive testing - Metal magnetic memory - Part 1: Vocabulary and general requirements | 2020
4. Magnetic particle testing (МТ) | Forgings | [8 empty] | BS | 5138 | Specification for magnetic particle flaw inspection of finished machined solid forged and drop stamped crankshafts | 1978
4. Magnetic particle testing (МТ) | Forgings | [8 empty] | BS EN | 10228-1 | Non-destructive testing of steel forgings. Magnetic particle inspection | 2016
4. Magnetic particle testing (МТ) | Tubes |  |  | ISO | 10893-5 | Non-destructive testing of steel tubes. Magnetic particle inspection of seamless and welded ferromagnetic steel tubes for the detection of surface imperfections |  |  |  | BS EN | 10893-5 | Non-destructive testing of steel tubes. Magnetic particle inspection of seamless and welded ferromagnetic steel tubes for the detection of surface imperfections | 2011
4. Magnetic particle testing (МТ) | Terminology | IIW |  | ISO | 24497-2 | Non-destructive testing. Metal magnetic memory. Inspection of welded joints | 2020 |  |  | BS | 24497-2 | Non-destructive testing. Metal magnetic memory. Inspection of welded joints | 2020
4. Magnetic particle testing (МТ) | NDE 4.0 | [8 empty] | ASTM E | E1444(M) | Magnetic Particle Testing (digital recording included)
4. Magnetic particle testing (МТ) | Equipment and tools | [8 empty] | MIL | 1907 | Reporting levels for discuntinuities
5. Penetrant testing (РТ) | General | 135 | 2 | ISO | 3452-1 | Penetrant testing - Part 1: General Principles | 2021 | 138 | 4 | EN ISO | 3452-1 | Penetrant testing - Part 1: General Principles
5. Penetrant testing (РТ) | General | 135 | 2 | ISO | 3452-2 | Penetrant testing - Part 2: Testing of penetrant materials | 2021 | 138 | 4 | EN ISO | 3452-2 | Penetrant testing - Part 2: Testing of penetrant materials | 2021
5. Penetrant testing (РТ) | General | 135 | 2 | ISO | 3452-3 | Penetrant testing - Part 3: Reference test blocks | 2013 | 138 | 4 | EN ISO | 3452-3 | Penetrant testing - Part 3: Reference test blocks | 2013
5. Penetrant testing (РТ) | General | 135 | 2 | ISO | 3452-4 | Penetrant testing - Part 4: Equipment | 1998 | 138 | 4 | EN ISO | 3452-4 | Penetrant testing - Part 4: Equipment | 1998
5. Penetrant testing (РТ) | General | 135 | 2 | ISO | 3452-5 | Penetrant testing - Part 5: Penetrant testing at temperatures higher than 50 ºC | 2008 | 138 | 4 | EN ISO | 3452-5 | Penetrant testing - Part 5: Penetrant testing at temperatures higher than 50 ºC | 2008
5. Penetrant testing (РТ) | General | 135 | 2 | ISO | 3452-6 | Penetrant testing - Part 6: Penetrant testing at temperatures lower than 10 ºC | 2008 | 138 | 4 | EN ISO | 3452-6 | Penetrant testing - Part 6: Penetrant testing at temperatures lower than 10 ºC | 2008
5. Penetrant testing (РТ) | General | 135 | 2 | ISO | 3059 | Penetrant testing and magnetic particle testing - Viewing conditions | 2012 | 138 | - | EN ISO | 3059 | Penetrant testing and magnetic particle testing - Viewing conditions | 2012
5. Penetrant testing (РТ) | General | [6 empty] | 138 | 4 | CEN/TR | 16638 | Penetrant and magnetic particle testing using blue light | 2014
5. Penetrant testing (РТ) | General | [6 empty] | 138 | 4 | CEN/TR | 17108 | Lighting in penetrant and magentic particle testing, good practice | 2017
5. Penetrant testing (РТ) | General | [6 empty] | 138 | 4 | CEN/TS | 17100 | Penetrant testing - Reference photographs and sizing of indications | 2017
5. Penetrant testing (РТ) | Welds (w) | 44 | 5 | ISO | 23277 | Non-destructive testing of welds - Penetrant testing - Acceptance levels | 2015 | 121 | 5 | EN ISO | 23277 | Non-destructive testing of welds - Penetrant testing - Acceptance levels | 2015
5. Penetrant testing (РТ) | Castings (c) | 17 | 11 | ISO | 4987 | Steel and iron castings - Liquid penetrant testing | 2020 |  |  | BS | 4987 | Steel and iron castings - Liquid penetrant testing | 2020
5. Penetrant testing (РТ) | Castings (c) | [6 empty] | 190 | 11 | EN | 1371-1 | Founding - Liquid penetrant testing - Part 1: Sand, gravity die and low pressure die castings | 2011
5. Penetrant testing (РТ) | Castings (c) | [6 empty] | 190 | 11 | EN | 1371-2 | Founding - Liquid penetrant testing - Part 2: Investment castings | 2015
5. Penetrant testing (РТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-4 | Non-destructive testing of steel tubes - Part 4: Liquid penetrant inspection of seamless and welded steel tubes for the detection of surface imperfections | 2011 | 459/ SC10 | - | EN ISO | 10893-4 | Non-destructive testing of steel tubes - Part 4: Liquid penetrant inspection of seamless and welded steel tubes for the detection of surface imperfections | 2011
5. Penetrant testing (РТ) | Forgings (f) | [6 empty] | 459/SC 11 | - | EN | 10228-2 | Non.destructive testing of steel forgings - Part 2: Penetrant testing | 2016
5. Penetrant testing (РТ) | Aerospace (a) | [6 empty] | ASD-STAN | - | EN | 2002-16 | Aerospeace series - Metallic materials - Test method - Part 16: Penetrant testing | 2019
5. Penetrant testing (РТ) | Aerospace | [8 empty] | BS M | 39 | Method for penetrant inspection of aerospace materials and components | 1972
5. Penetrant testing (РТ) | Ceramics | [8 empty] | BS EN | 623-1 | Advanced technical ceramics. Monolithic ceramics. General and textural properties. Determination of the presence of defects by dye penetration | 2006
5. Penetrant testing (РТ) | Aerospace , Test methods | [8 empty] | BS EN | 2002-16 | Aerospace series. Metallic materials. Test methods. Non-destructive testing. Penetrant testing | 2019
5. Penetrant testing (РТ) | Bearings |  |  | ISO | 4386-3 | Plain bearings. Metallic multilayer plain bearings. Non-destructive penetrant testing |  |  |  | BS ISO | 4386-3 | Plain bearings. Metallic multilayer plain bearings. Non-destructive penetrant testing | 2018
5. Penetrant testing (РТ) | General | [8 empty] | PD CEN/TR | 16638 | Non-destructive testing. Penetrant and magnetic particle testing using blue light | 2014
5. Penetrant testing (РТ) | Medical |  |  | ISO | 9583 | Method for liquid penetrant inspection of metallic surgical implants | 1993 |  |  | BS | 7730 | Method for liquid penetrant inspection of metallic surgical implants | 1994
5. Penetrant testing (РТ) | Terminology | 135 | 2 | ISO | 12706 | Penetrant Testing - Vocabulary | 2009 | 138 | 4 | EN ISO | 12706 | Penetrant Testing - Vocabulary | 2016
6. Radiographic testing (RТ) | General provisions | 135 | 5 | ISO | 5579 | Radiographic testing of metallic materials using film and X- or gamma rays -Basic rules | 2013 | 138 | 1 | EN ISO | 5579 | Radiographic testing of metallic materials using film and X- or gamma rays -Basic rules | 2013
6. Radiographic testing (RТ) | Welds (w) | 44 | 5 | ISO | 17636-1 | Non-destructive testing of welds - Radiographic testing - Part 1: X- and gamma-ray techniques with film | 2022 | 121 | 21 | EN ISO | 17636-1 | Non-destructive testing of welds - Radiographic testing - Part 1: X- and gamma-ray techniques with film | 2022
6. Radiographic testing (RТ) | Welds (w) | 44 | 5 | ISO | 17636-2 | Non-destructive testing of welds - Radiographic testing - Part 2: X- and gamma-ray techniques with digital detectors | 2022, Corrected version 2023-02 | 121 | 21 | EN ISO | 17636-2 | Non-destructive testing of welds - Radiographic testing - Part 2: X- and gamma-ray techniques with digital detectors | 2022
6. Radiographic testing (RТ) | Welds (w) | 44 | 5 | ISO | 10675-1 | Non-destructive testing of welds - Acceptance levels for radiographic testing - Part 1: Steel, nickel, titanium and their alloys | 2021 | 121 | 21 | EN ISO | 10675-1 | Non-destructive testing of welds - Acceptance levels for radiographic testing - Part 1: Steel, nickel, titanium and their alloys | 2021
6. Radiographic testing (RТ) | Welds (w) | 44 | 5 | ISO | 10675-2 | Non-destructive testing of welds - Acceptance levels for radiographic testing - Part 2: Aluminium and its alloys | 2021, Corrected version 2022-02 | 121 | 21 | EN ISO | 10675-2 | Non-destructive testing of welds - Acceptance levels for radiographic testing - Part 2: Aluminium and its alloys | 2021
6. Radiographic testing (RТ) | Castings (c) | 17 | 11 | ISO | 4993 | Steel and iron castings - Radiographic testing | 2024 |  |  | BS | 4993 | Steel and iron castings. Radiographic testing | 2002
6. Radiographic testing (RТ) | Castings (c) | [6 empty] | 190 | 10 | EN | 12681-1 | Founding - Radiographic testing - Part 1: Film techniques | 2017
6. Radiographic testing (RТ) | Castings (c) | [6 empty] | 190 | 10 | EN | 12681-2 | Founding - Radiographic testing - Part 2: Techniques with digital detectors | 2017
6. Radiographic testing (RТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-6 | Non-destructive testing of steel tubes - Part 6: Radiographic testing of the weld seam of welded steel tubes for the detection of imperfections | 2019 | 459/ SC10 | - | EN ISO | 10893-6 | Non-destructive testing of steel tubes - Part 6: Radiographic testing of the weld seam of welded steel tubes for the detection of imperfections | 2019
6. Radiographic testing (RТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-7 | Non-destructive testing of steel tubes - Part 7: Digital radiographic testing of the weld seam of welded steel tubes for the detection of imperfections | 2019 | 459/ SC10 | - | EN ISO | 10893-7 | Non-destructive testing of steel tubes - Part 7: Digital radiographic testing of the weld seam of welded steel tubes for the detection of imperfections | 2019
6. Radiographic testing (RТ) | Aerospace (a) | [6 empty] | ASD-STAN | - | EN | 2002-21 | Aerospeace series - Metallic materials - Test method - Part 21: Radiographic testing of castings | 2019
6. Radiographic testing (RТ) | Plastic | [6 empty] | 249 | 16 | EN | 13100-2 | Non destructive testing of welded joints in thermoplastics semi-finsihed products - Part 2: X-ray radiographic testing | 2019
6. Radiographic testing (RТ) | Film digitisation | 135 | 5 | ISO | 14096-1 | Qualification of radiographic film digitisation systems - Part 1: Definitions, quantitative measurements of image quality parameters, stadard reference film and qualitative control | 2005 | 138 | 1 | EN ISO | 14096-1 | Qualification of radiographic film digitisation systems - Part 1: Definitions, quantitative measurements of image quality parameters, stadard reference film and qualitative control | 2020
6. Radiographic testing (RТ) | Film digitisation | 135 | 5 | ISO | 14096-2 | Qualification of radiographic film digitisation systems - Part 2: Minimum requirements | 2005 | 138 | 1 | EN ISO | 14096-2 | Qualification of radiographic film digitisation systems - Part 2: Minimum requirements | 2020
6. Radiographic testing (RТ) | RT-S | [6 empty] | 138 | 1 | EN | 13068-1 | Radioscopic testing - Part 1: Quantitative measurement of imaging properties | 1999
6. Radiographic testing (RТ) | RT-S | [6 empty] | 138 | 1 | EN | 13068-2 | Radioscopic testing - Part 2: Check of long term stability of imaging devices | 1999
6. Radiographic testing (RТ) | RT-S | [6 empty] | 138 | 1 | EN | 13068-3 | Radioscopic testing - Part 3: General principles of radioscopic testing of metallic materials by X- and gamma rays | 2001
6. Radiographic testing (RТ) | RT-CT | 135 | 5 | ISO | 15708-2 | Radiation methods for computed tomography - Part 2: Principles, equipment and samples | 2025 | 138 | - | EN ISO | 15708-2 | Radiation methods for computed tomography - Part 2: Principles, equipment and samples | 2025
6. Radiographic testing (RТ) | RT-CT | 135 | 5 | ISO | 15708-3 | Radiation methods for computed tomography - Part 3: Operation and interpretation | 2017 | 138 | 1 | EN ISO | 15708-3 | Radiation methods for computed tomography - Part 3: Operation and interpretation | 2019
6. Radiographic testing (RТ) | RT-CT | 135 | 5 | ISO | 15708-4 | Radiation methods for computed tomography - Part 4: Qualification | 2017 | 138 | 1 | EN ISO | 15708-4 | Radiation methods for computed tomography - Part 4: Qualification | 2019
6. Radiographic testing (RТ) | RT-CR | 135 | 5 | ISO | 16371-1 | Industrial computed radiography with storage phosphor imaging plates - Part 1: Classification of systems | 2011 | 138 | 1 | prEN ISO | 16371-1 | Industrial computed radiography with storage phosphor imaging plates - Part 1: Classification of systems | -
6. Radiographic testing (RТ) | RT-CR | 135 | 5 | ISO | 16371-2 | Industrial computed radiography with storage phosphor imaging plates - Part 2: General principles for testing of metallic materials using X-rays and gamma rays | 2017, Corrected version 2018-05 | 138 | 1 | EN ISO | 16371-2 | Industrial computed radiography with storage phosphor imaging plates - Part 2: General principles for testing of metallic materials using X-rays and gamma rays | 2017
6. Radiographic testing (RТ) | RT-CR | [6 empty] | 138 | 1 | EN | 14784-1 | Industrial computed radiography with storage phosphor imaging plates - Part 1: Classification of systems | 2005
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO | 5580 | Industrial radiographic illuminators - Minimum requirements | 2023 | 138 | - | EN ISO | 5580 | Industrial radiographic illuminators - Minimum requirements | 2023
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO | 11699-1 | Industrial radiographic film - Part 1: Classification of film systems ofr industrial radiography | 2008 | 138 | 1 | EN ISO | 11699-1 | Industrial radiographic film - Part 1: Classification of film systems ofr industrial radiography | 2011
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO | 11699-2 | Industrial radiographic films - Part 2: Control of film processing by means of reference values | 2018 | 138 | 1 | EN ISO | 11699-2 | Industrial radiographic films - Part 2: Control of film processing by means of reference values | 2018
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO | 16526-1 | Measurement and evaluation of the X-ray tube voltage - Part 1: Voltage divider method | 2011 | 138 | 1 | EN ISO | 16526-1 | Measurement and evaluation of the X-ray tube voltage - Part 1: Voltage divider method | 2020
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO | 16526-2 | Measurement and evaluation of the X-ray tube voltage - Part 2: Constancy check by the thick filter method | 2011 | 138 | 1 | EN ISO | 16526-2 | Measurement and evaluation of the X-ray tube voltage - Part 2: Constancy check by the thick filter method | 2020
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO | 16526-3 | Measurement and evaluation of the X-ray tube voltage - Part 3: Spectrometric method | 2011 | 138 | 1 | EN ISO | 16526-3 | Measurement and evaluation of the X-ray tube voltage - Part 3: Spectrometric method | 2020
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO | 32543-1 | Characteristics of focal spots in industrial X-ray systems - Part 1: Pinhole camera radiographic method | 2024 | 138 | 1 | prEN ISO | 32543-1 | Characteristics of focal spots in industrial X-ray systems - Part 1: Pinhole camera radiographic method | -
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO/DIS | 32543-2 | Characteristics of focal spots in industrial X-ray systems - Part 2: Edge method with hole type gauges | - | 138 | 1 | prEN ISO | 32543-2 | Characteristics of focal spots in industrial X-ray systems - Part 2: Edge method with hole type gauges | -
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO/DIS | 32453-3 | Characteristics of focal spots in industrial X-ray systems - Part 3: Measurement of the effective focal spot size of mini and micro focus X-ray tubes | - | 138 | 1 | prEN ISO | 32453-3 | Characteristics of focal spots in industrial X-ray systems - Part 3: Measurement of the effective focal spot size of mini and micro focus X-ray tubes | -
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO/DIS | 32543-4 | Characteristics of focal spots in industrial X-ray systems - Part 4: Mesaurement of the effective focal spot size of micro- and nanofocus X-ray tubes with spot sizes < 100 µm | - | 138 | 1 | prEN ISO | - | Characteristics of focal spots in industrial X-ray systems for use in non-destructive testing - Part 6: Mesaurement of the effective focal spot size of micro- and nanofocus X-ray tubes with spot sizes < 100 µm | -
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO/DIS | 32453-5 | Characteristics of focal spots in industrial X-ray systems - Part 5: Focal spot reconstruction technique | - | 138 | 1 | prEN ISO | - | Characteristics of focal spots in industrial X-ray systems for use in non-destructive testing - Part 7: Focal spot reconstruction technique | -
6. Radiographic testing (RТ) | Equipment and tools | [6 empty] | 138 | 1 | EN | 12543-1 | Characteristics of focal spots in industrial X-ray systems for use in non-destructive testing - Part 1: Scanning method | 1999
6. Radiographic testing (RТ) | Equipment and tools | [6 empty] | 138 | 1 | EN | 12543-2 | Characteristics of focal spots in industrial X-ray systems for use in non-destructive testing - Part 2: Pinhole camera radiographic method | 2021
6. Radiographic testing (RТ) | Equipment and tools | [6 empty] | 138 | 1 | EN | 12543-3 | Characteristics of focal spots in industrial X-ray systems for use in non-destructive testing - Part 3: Slit camera radiographic method | 1999
6. Radiographic testing (RТ) | Equipment and tools | [6 empty] | 138 | 1 | EN | 12543-4 | Characteristics of focal spots in industrial X-ray systems for use in non-destructive testing - Part 4: Edge method | 1999
6. Radiographic testing (RТ) | Equipment and tools | [6 empty] | 138 | 1 | EN | 12543-5 | Characteristics of focal spots in industrial X-ray systems for use in non-destructive testing - Part 5: Mesaurement of the effective focal spot size of mini and micro focus X-ray tubes | 1999
6. Radiographic testing (RТ) | Equipment and tools | [6 empty] | 138 | 1 | EN | 12679 | Radiographic testing -Determination of the size of industrial radiographic gamma sources | 2018
6. Radiographic testing (RТ) | Equipment and tools | 135 | 5 | ISO | 32679 | Radiographic testing - Determination of the size of industrial radiographic gamma sources | 2024 | 138 | 1 | prEN ISO | 32679 | Radiographic testing -Determination of the size of industrial radiographic gamma sources | -
6. Radiographic testing (RТ) | Image quality | 135 | 5 | ISO | 19232-1 | Image quality of radiographs - Part 1: Determination of the image quality value using wire-type image quality indicators | 2013 | 138 | 1 | EN ISO | 19232-1 | Image quality of radiographs - Part 1: Determination of the image quality value using wire-type image quality indicators | 2013
6. Radiographic testing (RТ) | Image quality | 135 | 5 | ISO | 19232-2 | Image quality of radiographs - Part 2: Determination of the image quality value using step/hole-type image quality indicators | 2013 | 138 | 1 | EN ISO | 19232-2 | Image quality of radiographs - Part 2: Determination of the image quality value using step/hole-type image quality indicators | 2013
6. Radiographic testing (RТ) | Image quality | 135 | 5 | ISO | 19232-3 | Image quality of radiographs - Part 3: Image quality classes | 2013 | 138 | 1 | EN ISO | 19232-3 | Image quality of radiographs - Part 3: Image quality classes | 2013
6. Radiographic testing (RТ) | Image quality | 135 | 5 | ISO | 19232-4 | Image quality of radiographs - Part 4: Experimental evaluation of image quality values and image quality tables | 2013 | 138 | 1 | EN ISO | 19232-4 | Image quality of radiographs - Part 4: Experimental evaluation of image quality values and image quality tables | 2013
6. Radiographic testing (RТ) | Image quality | 135 | 5 | ISO | 19232-5 | Image quality of radiographs - Part 5: Determination of the image unsharpness and basic spatial resolution value using duplex wire-type image quality indicators | 2018 | 138 | 1 | EN ISO | 19232-5 | Image quality of radiographs - Part 5: Determination of the image unsharpness and basic spatial resolution value using duplex wire-type image quality indicators | 2018
6. Radiographic testing (RТ) | Special technique | 135 | 5 | ISO | 20769-1 | Radiographic inspection of corrosion and deposits in pipes by X- and gamma rays - Part 1: Tangential radiografphic inspection | 2018 | 138 | 1 | EN ISO | 20769-1 | Radiographic inspection of corrosion and deposits in pipes by X- and gamma rays - Part 1: Tangential radiografphic inspection | 2018
6. Radiographic testing (RТ) | Special technique | 135 | 5 | ISO | 20769-2 | Radiographic inspection of corrosion and deposits in pipes by X- and gamma rays - Part 2: Double wall radiographic inspection | 2018 | 138 | 1 | EN ISO | 20769-2 | Radiographic inspection of corrosion and deposits in pipes by X- and gamma rays - Part 2: Double wall radiographic inspection | 2018
6. Radiographic testing (RТ) | Special technique | 135 | 5 | ISO | 23159 | Gamma ray scanning method on process columns | 2020 |  |  | BS | 23159 | Non-destructive testing. Gamma ray scanning method on process columns | 2020
6. Radiographic testing (RТ) | Special technique | [6 empty] | 138 | 10 | EN | 15305 | Test Method for Residual Stress analysis by X-ray Diffraction | 2008+AC:2009
6. Radiographic testing (RТ) | Special technique | [6 empty] | 138 | - | EN | 13925-1 | X-ray diffraction from polycrystaline and amorphous material - Part 1: General principles | 2003
6. Radiographic testing (RТ) | Special technique | [6 empty] | 138 | - | EN | 13925-2 | X-ray diffraction from polycrystaline and amorphous materials - Part 2: Procedure | 2003
6. Radiographic testing (RТ) | Special technique | [6 empty] | 138 | - | EN | 13925-3 | X-ray diffraction from polycrystaline and amorphous materials - Part 3: Instruments | 2005
6. Radiographic testing (RТ) | Special technique | [6 empty] | 138 | 10 | CEN/TS | 18094 | Test method for determining residual stresses by synchrotron x-ray diffraction | 2024
6. Radiographic testing (RТ) | Special technique | 135 | 5 | ISO | 21432 | Standard test method for determining resuidual stresses by neutron difraction | 2019 | 138 | 1 | EN ISO | 21432 | Standard test method for determining resuidual stresses by neutron difraction | 2020
6. Radiographic testing (RТ) | Special technique | 135 | 5 | ISO | 12721 | Thermal neutron radiographic testing - Determination of beam L/D ratio | 2000
6. Radiographic testing (RТ) | Special technique | 135 | 5 | ISO/AWI | 23432 | Spectral resolved scanning technique of highly attenuating container walls - Evaluation of the integrity of various shielding structures by using gamma topography | -
6. Radiographic testing (RТ) | Terminology | 135 | 5 | ISO | 5576 | Industrial X-ray and gamma -ray radiology - Vocabulary | 1997
6. Radiographic testing (RТ) | Terminology | [6 empty] | 138 | 1 | EN | 1330-3 | Termingology - Part 3: Terms used in industrial radiographic testing | 1997
6. Radiographic testing (RТ) | Terminology | 135 | 5 | ISO | 15708-1 | Radiation methods for computed tomography - Part 1: Vocabulary | 2024 | 138 | - | EN ISO | 15708-1 | Radiation methods for computed tomography - Part 1: Vocabulary | 2024
6. Radiographic testing (RТ) | Terminology | [8 empty] | BS EN | 1330-3 | Non-destructive testing. Terminology. Terms used in industrial radiographic testing | 1997
6. Radiographic testing (RТ) | General | [8 empty] | BS EN | 13068 | Non-destructive testing. Radioscopic testing. General principles of radioscopic testing of metallic materials by X- and gamma rays | 2001
6. Radiographic testing (RТ) | Computed Radiography |  |  | ISO | 16371 | Non-destructive testing. Industrial computed radiography with storage phosphor imaging plates. General principles for testing of metallic materials using X-rays and gamma rays |  |  |  | BS EN | 16371 | Non-destructive testing. Industrial computed radiography with storage phosphor imaging plates. General principles for testing of metallic materials using X-rays and gamma rays | 2017
6. Radiographic testing (RТ) | Safety |  |  | ISO | 2919 | Radiological protection. Sealed radioactive sources. General requirements and classification |  |  |  | BS EN | 2919 | Radiological protection. Sealed radioactive sources. General requirements and classification | 2014
6. Radiographic testing (RТ) | Safety | [8 empty] | BS | 4094-1 | Recommendation for data on shielding from ionizing radiation. Shielding from gamma radiation | 1996
6. Radiographic testing (RТ) | Safety | [8 empty] | BS | 4094-2 | Recommendation for data on shielding from ionizing radiation. Shielding from X-radiation | 1971
6. Radiographic testing (RТ) | Safety | [8 empty] | BS IEC | 60532 | Radiation protection instrumentation. Installed dose rate meters, warning assemblies and monitors. X and gamma radiation of energy between 50 keV and 7 MeV | 2010
6. Radiographic testing (RТ) | Safety |  |  | ISO | 4037-2 | Radiological protection. X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy. Dosimetry for radiation protection over the energy ranges from 8 keV to 1,3 MeV and 4 MeV to 9 MeV |  |  |  | BS EN | 4037-2 | Radiological protection. X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy. Dosimetry for radiation protection over the energy ranges from 8 keV to 1,3 MeV and 4 MeV to 9 MeV | 2021
6. Radiographic testing (RТ) | Safety |  |  | ISO | 4037-3 | Radiological protection. X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy. Calibration of area and personal dosemeters and the measurement of their response as a function of energy and angle of incidence |  |  |  | BS EN | 4037-3 | Radiological protection. X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy. Calibration of area and personal dosemeters and the measurement of their response as a function of energy and angle of incidence | 2021
6. Radiographic testing (RТ) | Safety |  |  | ISO | 4037-4 | Radiological protection. X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy. Calibration of area and personal dosemeters in low energy X reference radiation fields |  |  |  | BS EN | 4037-4 | Radiological protection. X and gamma reference radiation for calibrating dosemeters and doserate meters and for determining their response as a function of photon energy. Calibration of area and personal dosemeters in low energy X reference radiation fields | 2021
6. Radiographic testing (RТ) | Safety | [8 empty] | BS | 4513 | Specification for lead bricks for radiation shielding | 1969
6. Radiographic testing (RТ) | Equipment and tools | [8 empty] | BS EN iec | 62976 | Industrial non-destructive testing equipment. Electron linear accelerator | 2022
6. Radiographic testing (RТ) | Techniques | [8 empty] | BS M | 34 | Method of preparation and use of radiographic techniques | 1970
6. Radiographic testing (RТ) | Welds | [8 empty] | BS M | 42 | Method of preparation and use of radiographic techniques | 1972
6. Radiographic testing (RТ) | Equipment and tools |  |  | ISO | 7004 | Photography. Industrial radiographic films. Determination of ISO speed, ISO average gradient and ISO gradients G2 and G4 when exposed to X- and gamma radiation |  |  |  | BS | 7004 | Photography. Industrial radiographic films. Determination of ISO speed, ISO average gradient and ISO gradients G2 and G4 when exposed to X- and gamma radiation | 2002
6. Radiographic testing (RТ) | Techniques | [8 empty] | BS EN | 100012 | Harmonized system of quality assessment for electronic components. Basic specification. X-ray inspection of electronic components | 1996
6. Radiographic testing (RТ) | Equipment and tools |  |  | ISO | 3999 | Radiation protection. Apparatus for industrial gamma radiography. Specifications for performance, design and tests |  |  |  | BS | 3999 | Radiation protection. Apparatus for industrial gamma radiography. Specifications for performance, design and tests | 2004
6. Radiographic testing (RТ) | Equipment and tools |  |  | ISO | 9978 | Radiation protection. Sealed sources. Leakage test methods |  |  |  | BS EN | 9978 | Radiation protection. Sealed sources. Leakage test methods | 2022
6. Radiographic testing (RТ) | Definitions | [8 empty] | BS | 2737 | Terminology of internal defects in castings as revealed by radiography | 1956
6. Radiographic testing (RТ) | NDE 4.0 | [8 empty] | ASTM E | E2862 | Performance Evaluation of Computed Radiography (CR) Systems
6. Radiographic testing (RТ) | NDE 4.0 | [8 empty] | ASTM E | E2997 | X-ray Computed Tomography (CT) for Industrial Applications
6. Radiographic testing (RТ) | X-ray Tomography (NDE 4.0) | [8 empty] | ASTM E | E1255 | Guide for Electromagnetic Acoustic Transducers
6. Radiographic testing (RТ) | Wels, Plastic | [8 empty] | BS EN | 13100-2 | Non-destructive testing of welded joints in thermoplastics semi- finished products. X-ray radiographic testing | 2019
7. Ultrasonic testing (UТ) | General | 135 | 3 | ISO | 16810 | Ultrasonic testing - General principles | 2024 | 138 | 2 | EN ISO | 16810 | Ultrasonic testing - General principles | 2024
7. Ultrasonic testing (UТ) | General | 135 | 3 | ISO | 16811 | Ultrasonic testing - Sensitivity and range setting | 2025 | 138 | 2 | EN ISO | 16811 | Ultrasonic testing - Sensitivity and range setting | 2025
7. Ultrasonic testing (UТ) | General | 135 | 3 | ISO | 16823 | Ultrasonic testing - Through-transmission technique | 2025 | 138 | 2 | EN ISO | 16823 | Ultrasonic testing - Through-transmission technique | 2025
7. Ultrasonic testing (UТ) | General | 135 | 3 | ISO | 16826 | Ultrasonic testing - Testing for discontinuities perpendicular to the surface | 2025 | 138 | 2 | EN ISO | 16826 | Ultrasonic testing - Testing for discontinuities perpendicular to the surface | 2025
7. Ultrasonic testing (UТ) | General | 135 | 3 | ISO | 16827 | Ultrasonic testing - Characterization and sizing of discontinuities | 2012 | 138 | 2 | EN ISO | 16827 | Ultrasonic testing - Characterization and sizing of discontinuities | 2014
7. Ultrasonic testing (UТ) | Welds (w) | 44 | 5 | ISO | 17640 | Non-destructive testing of welds - Ultrasonic testing - Techniques, testing levels, and assessment | 2018 | 121 | 21 | EN ISO | 17640 | Non-destructive testing of welds - Ultrasonic testing - Techniques, testing levels, and assessment | 2018
7. Ultrasonic testing (UТ) | Welds (w) | 44 | 5 | ISO | 11666 | Non-destructive testing of welds - Ultrasonic testing - Acceptance levels | 2018 | 121 | 21 | EN ISO | 11666 | Non-destructive testing of welds - Ultrasonic testing - Acceptance levels | 2018
7. Ultrasonic testing (UТ) | Welds (w) | 44 | 5 | ISO | 23279 | Non-destructive testing of welds - Ultrasonic testing - Characterization of discontinuities in welds | 2017 | 121 | 21 | EN ISO | 23279 | Non-destructive testing of welds - Ultrasonic testing - Characterization of discontinuities in welds | 2017
7. Ultrasonic testing (UТ) | Welds (w) | 44 | 5 | ISO | 22825 | Non-destructive testing of welds - Ultrasonic testing - Testing of welds in austenitic steels and nickel-based alloys | 2017 | 121 | 21 | EN ISO | 22825 | Non-destructive testing of welds - Ultrasonic testing - Testing of welds in austenitic steels and nickel-based alloys | 2017
7. Ultrasonic testing (UТ) | Welds (w) | 44 | 5 | ISO | 17405 | Non-destructive testing - Ultrasonic testing - Technique of testing claddings produced by welding, rolling and explosion | 2022 | 121 | 21 | EN ISO | 17405 | Non-destructive testing - Ultrasonic testing - Technique of testing claddings produced by welding, rolling and explosion | 2022
7. Ultrasonic testing (UТ) | Welds-PAUT | 44 | 5 | ISO | 13588 | Non-destructive testing of welds - Ultrasonic testing - Use of automated phased array technology | 2019 | 121 | 21 | EN ISO | 13588 | Non-destructive testing of welds - Ultrasonic testing - Use of automated phased array technology | 2019
7. Ultrasonic testing (UТ) | Welds-PAUT | 44 | 5 | ISO | 19285 | Non-destructive testing of welds - Phased array ultrasonic testing (PAUT) - Acceptancce levels | 2017 | 121 | 21 | EN ISO | 19285 | Non-destructive testing of welds - Phased array ultrasonic testing (PAUT) - Acceptancce levels | 2017
7. Ultrasonic testing (UТ) | Welds-PAUT | 44 | 5 | ISO | 20601 | Non-destructive testing of welds - Ultrasonic testing - Use of automated phased array technology for thin-walled steel components | 2018 | 121 | 21 | EN ISO | 20601 | Non-destructive testing of welds - Ultrasonic testing - Use of automated phased array technology for thin-walled steel components | 2018
7. Ultrasonic testing (UТ) | Welds-PAUT | 44 | 5 | ISO | 4761 | Non-destructive testing of welds - Phased array ultrasonic testing (UT-PA) for thin-walled steel components - Acceptancce levels | 2022 | 121 | 21 | EN ISO | 4761 | Non-destructive testing of welds - Phased array ultrasonic testing (UT-PA) for thin-walled steel components - Acceptancce levels | 2022
7. Ultrasonic testing (UТ) | Welds-TOFD | 44 | 5 | ISO | 10863 | Non-destructive testing of welds - Ultrasonic testing - Use of time-of-flight difration technique (TOFD) | 2020 | 121 | 21 | EN ISO | 10863 | Non-destructive testing of welds - Ultrasonic testing - Use of time-of-flight difration technique (TOFD) | 2020
7. Ultrasonic testing (UТ) | Welds-TOFD | 44 | 5 | ISO | 15626 | Non-destructive testing of welds - Time-of-flight diffraction technique (TOFD) - Acceptancce levels | 2018 | 121 | 21 | EN ISO | 15626 | Non-destructive testing of welds - Time-of-flight diffraction technique (TOFD) - Acceptancce levels | 2019
7. Ultrasonic testing (UТ) | Welds-TOFD | 135 | 3 | ISO | 16828 | Ultrasonic testing - Time-of-flight diffraction technique as a method for detection and sizing discontinuities | 2012 | 138 | 2 | EN ISO | 16828 | Ultrasonic testing - Time-of-flight diffraction technique as a method for detection and sizing discontinuities | 2014
7. Ultrasonic testing (UТ) | Welds-TOFD | [6 empty] | 138 | 2 | EN | 17290 | Ultrasonic testing - Examination for loss of thickness due to erosion and/or corrosion using the TOFD technique | 2021
7. Ultrasonic testing (UТ) | Welds -TFM | IIW | - | ISO | 23864 | Non-destructive testing of welds - Ultrasonic testing - Use of automated total focusing technique (TFM) and related technologies | 2021 | 121 | 21 | EN ISO | 23864 | Non-destructive testing of welds - Ultrasonic testing - Use of automated total focusing technique (TFM) and related technologies | 2021
7. Ultrasonic testing (UТ) | Welds -TFM | IIW | - | ISO | 23865 | Non-destructive testing of welds - Ultrasonic testing - Use of automated total focusing technique (TFM) and related technologiesGeneral use of full matrix capture/total focusing technique (FMC/TFM) and related technologies | 2021 |  |  | BS | 23865 | Non-destructive testing of welds - Ultrasonic testing - Use of automated total focusing technique (TFM) and related technologiesGeneral use of full matrix capture/total focusing technique (FMC/TFM) and related technologies | 2021
7. Ultrasonic testing (UТ) | Steel | 17 | 7 | ISO | 17577 | Steel - Ultrasonic testing of steel flat products of thickness equal to or greater than 6 mm. | 2016 |  |  | BS | 17577 | Steel - Ultrasonic testing of steel flat products of thickness equal to or greater than 6 mm. | 2016
7. Ultrasonic testing (UТ) | Steel | [6 empty] | 459/ SC1 | - | EN | 10160 | Ultrasonic testing of steel flat product of thickness equal or greater than 6 mm (reflection method) | 1999
7. Ultrasonic testing (UТ) | Steel | [6 empty] | 459/ SC1 | - | EN | 10306 | Iron and steel - Ultrasonic testing of H beams with parallel flanges and IPE beams | 2001
7. Ultrasonic testing (UТ) | Steel | [6 empty] | 459/ SC1 | - | EN | 10307 | Non-destructive testing - Ultrasonic testing of austenitic and austenitic-ferritic stainless steels flat products of thickness equal to or greater than 6 mm (reflection method) | 2001
7. Ultrasonic testing (UТ) | Steel | [6 empty] | 459/ SC1 | - | EN | 10308 | Non destructive testing - Ultrasonic testing of steel bars | 2001
7. Ultrasonic testing (UТ) | Castings (c) | 17 | 11 | ISO | 4992-1 | Steel castings - Ultrasonic testing - Part 1:Steel castings for general purposes | 2020
7. Ultrasonic testing (UТ) | Castings (c) | 17 | 11 | ISO | 4992-2 | Steel castings - Ultrasonic testing - Part 2:Steel castings for highly stressed components | 2020
7. Ultrasonic testing (UТ) | Castings (c) | [6 empty] | 190 | 10 | EN | 12680-1 | Founding - Ultrasonic examination - Part 1: Steel castings for general purposes | 2003
7. Ultrasonic testing (UТ) | Castings (c) | [6 empty] | 190 | 10 | EN | 12680-2 | Founding - Ultrasonic examination - Part 2: Steel castings for highly stressed components | 2003
7. Ultrasonic testing (UТ) | Castings (c) | [6 empty] | 190 | 10 | EN | 12680-3 | Founding - Ultrasonic examination - Part 3: Spheroidal graphite cast iron castings | 2011
7. Ultrasonic testing (UТ) | Castings - PAUT | [6 empty] | 190 | 10 | prEN | 12680-4 | Founding - Ultrasonic examination - Part 4: Phased Array ultrasonic testing of steel castings | -
7. Ultrasonic testing (UТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10332 | Non-destructive testing of steel tubes - Automated ultrasonic testing of seamless and welded (except submerged arc-welded) steel tubes for verification of hydraulic leak-tightness | 2010
7. Ultrasonic testing (UТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-8 | Non-destructive testing of steel tubes - Part 8: Automated ultrasonic testing of seamless and welded steel tubes ofr the detection of laminar imperfections | 2011+Amd 1:2020 | 459/ SC10 | - | EN ISO | 10893-8 | Non-destructive testing of steel tubes - Part 8: Automated ultrasonic testing of seamless and welded steel tubes ofr the detection of laminar imperfections | 2011+A1:2020
7. Ultrasonic testing (UТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-9 | Non-destructive testing of steel tubes - Part 9: Automated ultrasonic testing for the detection of laminar imperfections in strip/plate used for the mawnufacture of welded steel tubes | 2011+Amd 1:2020 | 459/ SC10 | - | EN ISO | 10893-9 | Non-destructive testing of steel tubes - Part 9: Automated ultrasonic testing for the detection of laminar imperfections in strip/plate used for the mawnufacture of welded steel tubes | 2011+A1:2020
7. Ultrasonic testing (UТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-10 | Non-destructive testing of steel tubes - Part 10: Automated full peripheral ultrasonic testing of seamless and welded (except submerged arc-welded) steel tubes for the detection of longitudinal and/or transverse imperfections | 2011+Amd 1:2020 | 459/ SC10 | - | EN ISO | 10893-10 | Non-destructive testing of steel tubes - Part 10: Automated full peripheral ultrasonic testing of seamless and welded (except submerged arc-welded) steel tubes for the detection of longitudinal and/or transverse imperfections | 2011+A1:2020
7. Ultrasonic testing (UТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-11 | Non-destructive testing of steel tubes - Part 11: Automated ultrasonic testing of the weld seam of welded steel tubes for the detection of longitudinal and/or transverse imperfections | 2011+Amd 1:2020 | 459/ SC10 | - | EN ISO | 10893-11 | Non-destructive testing of steel tubes - Part 11: Automated ultrasonic testing of the weld seam of welded steel tubes for the detection of longitudinal and/or transverse imperfections | 2011+A1:2020
7. Ultrasonic testing (UТ) | Tubes and pipes (t) | 17 | 19 | ISO | 10893-12 | Non-destructive testing of steel tubes - Part 13: Automated full peripheral ultrasonic thickness testing of seamless and welded (except submerged arc-welded) steel tubes | 2011+Amd 1:2020 | 459/ SC10 | - | EN ISO | 10893-12 | Non-destructive testing of steel tubes - Part 13: Automated full peripheral ultrasonic thickness testing of seamless and welded (except submerged arc-welded) steel tubes | 2011+A1:2020
7. Ultrasonic testing (UТ) | Forgings (f) | [6 empty] | 459/SC 11 | - | EN | 10228-3 | Non.destructive testing of steel forgings - Part 3: Ultrasonic testing of ferritic or martensitic steel forgings | 2016
7. Ultrasonic testing (UТ) | Forgings (f) | [6 empty] | 459/SC 11 | - | EN | 10228-4 | Non.destructive testing of steel forgings - Part 4: Ultrasonic testing of austenitic and austenitic-ferritic steel forgings | 2016
7. Ultrasonic testing (UТ) | Railway (r) | 17 | 15 | ISO | 5948 | Railway rolling stock material - Ultrasonic acceptance testing | 2018
7. Ultrasonic testing (UТ) | Railway (r) | [6 empty] | 256 | 50 | EN | 16729-1 | Railway applications - Infrastructure - Non-destructive testing on rails in track - Part 1: Requirements for ultrasonic inspection and evaluation principles | 2016
7. Ultrasonic testing (UТ) | Plastic | [6 empty] | 249 | 16 | EN | 13100-3 | Non destructive testing of welded joints in thermoplastics semi-finsihed products - Part 3: Ultrasonic testing | 2004
7. Ultrasonic testing (UТ) | Thickness measurement | 135 | 3 | ISO | 16809 | Ultrasonic thickness measurement | 2017 | 138 | 2 | EN ISO | 16809 | Ultrasonic thickness measurement | 2017
7. Ultrasonic testing (UТ) | Thickness measurement | 35 | 9 | ISO | 19397 | Paints and varnishes - Determination of the film thickness of coatings using an ultrasonic gauge | 2024 | 139 | - | EN ISO | 19397 | Paints and varnishes - Determination of the film thickness of coatings using an ultrasonic gauge | 2024
7. Ultrasonic testing (UТ) | Thickness measurement | 35 | 9 | ISO | 2808 | Paints and varnishes - Determination of the film thickness | 2019 | 139 |  | EN ISO | 2808 | Paints and varnishes - Determination of the film thickness | 2019
7. Ultrasonic testing (UТ) | Aerospace (a) | [6 empty] | ASD-STAN | - | EN | 4050-1 | Aeroespace series - Test method for metallic materials - Ultrasonic inspection of bars, plates, forging astock and forgings - Part 1: General requirements | 2012
7. Ultrasonic testing (UТ) | Aerospace (a) | [6 empty] | ASD-STAN | - | EN | 4050-2 | Aeroespace series - Test method for metallic materials - Ultrasonic inspection of bars, plates, forging astock and forgings - Part 2: Performance of the test | 2012
7. Ultrasonic testing (UТ) | Aerospace (a) | [6 empty] | ASD-STAN | - | EN | 4050-3 | Aeroespace series - Test method for metallic materials - Ultrasonic inspection of bars, plates, forging astock and forgings - Part 3: Reference blocks | 2012
7. Ultrasonic testing (UТ) | Aerospace (a) | [6 empty] | ASD-STAN | - | EN | 4050-4 | Aeroespace series - Test method for metallic materials - Ultrasonic inspection of bars, plates, forging astock and forgings - Part 4: Acceptance criteria | 2012
7. Ultrasonic testing (UТ) | Special technique | 135 | 3 | ISO/TS | 16829 | Automated ultrasonic testing - Selection and application of systems | 2023
7. Ultrasonic testing (UТ) | Special technique | 135 | 3 | ISO | 4773 | Ultrasonic guided-wave testing using the phased-array technique | 2023
7. Ultrasonic testing (UТ) | Special technique | 135 | 3 | ISO | 24647 | Robotic ultrasonic test systems - General requirements | 2023
7. Ultrasonic testing (UТ) | Special technique | IIW | - | ISO | 18211 | Long-range inspection of above-ground pipelines and plant piping using guided wave testing with axial propagation | 2016 |  |  | BS | 18211 | Long-range inspection of above-ground pipelines and plant piping using guided wave testing with axial propagation | 2016
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO | 2400 | Ultrasonic testing -Specification for calibration block No.1 | 2012 | 138 | 2 | EN ISO | 2400 | Ultrasonic testing -Specification for calibration block No.1 | 2012
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO | 7963 | Ultrasonic testing -Specification for calibration block No.2 | 2022 | 138 | - | EN ISO | 7963 | Ultrasonic testing -Specification for calibration block No.2 | 2022
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO | 16946 | Ultrasonic testing - Specification for a step wedge standard block | 2024 | 138 | 2 | EN ISO | 16946 | Ultrasonic testing - Specification for a step wedge standard block | 2024
7. Ultrasonic testing (UТ) | Equipment and tools | IIW | - | ISO | 19675 | Ultrasonic testing - Specification for a calibration block for phased array testing (PAUT) | 2017 | 138 | 2 | EN ISO | 19675 | Ultrasonic testing - Specification for a calibration block for phased array testing (PAUT) | 2024
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO | 22232-1 | Characterization and verification of ultrasonic test equipment - Part 1: Instruments | 2020 | 138 | 2 | EN ISO | 22232-1 | Characterization and verification of ultrasonic test equipment - Part 1: Instruments | 2020
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO | 22232-2 | Characterization and verification of ultrasonic test equipment - Part 2: Probes | 2020 | 138 | 2 | EN ISO | 22232-2 | Characterization and verification of ultrasonic test equipment - Part 2: Probes | 2020
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO | 22232-3 | Characterization and verification of ultrasonic test equipment - Part 3: Combined equipment | 2020 | 138 | 2 | EN ISO | 22232-3 | Characterization and verification of ultrasonic test equipment - Part 3: Combined equipment | 2020
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO | 18563-1 | Characterization and verification of ultrasonic phased array equipment - Part 1: Instruments | 2022 | 138 | 2 | EN ISO | 18563-1 | Characterization and verification of ultrasonic phased array equipment - Part 1: Instruments | 2022
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO | 18563-2 | Characterization and verification of ultrasonic phased array equipment - Part 2: Array probes | 2024 | 138 | - | EN ISO | 18563-2 | Characterization and verification of ultrasonic phased array equipment - Part 2: Array probes | 2024
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO | 18563-3 | Characterization and verification of ultrasonic phased array equipment - Part 3: Complete system | 2024 | 138 | 2 | EN ISO | 18563-3 | Characterization and verification of ultrasonic phased array equipment - Part 3: Complete system | 2024
7. Ultrasonic testing (UТ) | Equipment and tools | [6 empty] | 138 | 2 | EN | 15317 | Ultrasonic testing - Characterization and verifcation of ultrasonic thickness measuring equipment | 2013
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO | 16831 | Ultrasonic testing - Characterization and verification of ultrasonic thickness measuring equipment | 2012 | 138 | 2 | FPR EN | 16831 | Ultrasonic testing - Characterization and verifcation of ultrasonic equipment for the determination of thickness | -
7. Ultrasonic testing (UТ) | Equipment and tools | 135 | 3 | ISO/WD | 25222-2 | Characterization and verification of ultrasonic air-coupled equipment - Part 2: Probes | -
7. Ultrasonic testing (UТ) | Terminology | 135 | 3 | ISO | 5577 | Ultrasonic testing - Vocabulary | 2017 | 138 | 2 | EN ISO | 5577 | Ultrasonic testing - Vocabulary | 2017
7. Ultrasonic testing (UТ) | Terminology | 135 | 3 | ISO | 23243 | Ultrasonic testing with arrays- Vocabulary | 2020 | 138 | 2 | EN ISO | 23243 | Ultrasonic testing with arrays- Vocabulary | 2020
7. Ultrasonic testing (UТ) | Automated | [6 empty] | 138 |  | PD CEN/TR | 15134 | Non-destructive testing. Automated ultrasonic examination. Selection and application of systems | 2005
7. Ultrasonic testing (UТ) | Automated |  |  | ISO | 16829 | Non-destructive testing. Automated ultrasonic testing. Selection and application of systems |  | 138 |  | PD ISO/TR | 16829 | Non-destructive testing. Automated ultrasonic testing. Selection and application of systems | 2017
7. Ultrasonic testing (UТ) | Bearings |  |  | ISO | 4386-1 | Plain bearings. Metallic multi-layer plain bearings. Non-destructive ultrasonic testing of bond of thickness greater than or equal to 0.5mm |  |  |  | BS ISO | 4386-1 | Plain bearings. Metallic multi-layer plain bearings. Non-destructive ultrasonic testing of bond of thickness greater than or equal to 0.5mm | 2019
7. Ultrasonic testing (UТ) | Graphite |  |  | ISO | 10830 | Space systems. Non-destructive testing. Automatic ultrasonic inspection method of graphite ingot for solid rocket motors |  |  |  | BS ISO | 10830 | Space systems. Non-destructive testing. Automatic ultrasonic inspection method of graphite ingot for solid rocket motors
7. Ultrasonic testing (UТ) | Forgings | [8 empty] | BS M | 36 | Method for ultrasonic testing of special forgings by an immersion technique using flat-bottomed holes as a reference standard | 1970
7. Ultrasonic testing (UТ) | Guided Waves | [8 empty] | BS | 9690-1 | Non-destructive testing. Guided wave testing. General guidance and principles | 2011
7. Ultrasonic testing (UТ) | Guided Waves | [8 empty] | BS | 9690-2 | Non-destructive testing. Guided wave testing. Basic requirements for guided wave testing of pipes, pipelines and structural tubulars | 2011
7. Ultrasonic testing (UТ) | Welds | [8 empty] | EN | 1714 | Ultrasonic testing od welds | 1998
7. Ultrasonic testing (UТ) | Welding, Plastic | [8 empty] | BS EN | 13100-3 | Non-destructive testing of welded joints in thermoplastics semi- finished products. Ultrasonic testing | 2004
8. Visual testing (VТ) | General | [6 empty] | 138 | - | EN | 13018 | Visual testing - General principles | 2016
8. Visual testing (VТ) | General | 135 | 2 | ISO | 3058 | Aids to visual inspection - Selection of low power magnifiers | 1998 |  |  | BS | 3058 | Aids to visual inspection - Selection of low power magnifiers | 1998
8. Visual testing (VТ) | General | 135 | 2 | ISO/AWI | 22527-1 | Visual testing with industrial endoscope - Part 1: Method | -
8. Visual testing (VТ) | General | 135 | 2 | ISO/AWI | 22527-2 | Visual testing with industrial endoscope - Part 2: Atlas | -
8. Visual testing (VТ) | Welds (w) | 121 | 5 | ISO | 17637 | Non-destructive testing of welds - Visual testing of fusion-welded joints | 2016 | 121 | 21 | EN ISO | 17637 | Non-destructive testing of welds - Visual testing of fusion-welded joints | 2016
8. Visual testing (VТ) | Castings (c) | 17 | 11 | ISO | 11971 | Steel and iron castings - Visual testing of surface quality | 2020 |  |  | BS | 11971 | Steel and iron castings - Visual testing of surface quality | 2020
8. Visual testing (VТ) | Castings (c) | [6 empty] | 190 | 11 | EN | 1370 | Founding - Examination of surface condition | 2011
8. Visual testing (VТ) | Plastic | [6 empty] | 249 | 16 | EN | 13100-1 | Non destructive testing of welded joints in thermoplastics semi-finsihed products - Part 1: Visual examination | 2017
8. Visual testing (VТ) | Terminology | [6 empty] | 138 | 8 | EN | 1330-10 | Terminology - Part 10: Terms used in visual testing | 2003
8. Visual testing (VТ) | Terminology | [6 empty] | 138 | 8 | EN | 13927 | Visual testing - Equipment | 2003
8. Visual testing (VТ) | General | [8 empty] | BS EN | 12272 | Surface dressing. Test methods. Visual assessment of defects | 2003
8. Visual testing (VТ) | Metalographic replica |  |  | ISO | 3057 | Non-destructive testing. Metallographic replica techniques of surface examination |  |  |  | BS | 3057 | Non-destructive testing. Metallographic replica techniques of surface examination | 1998
9. Leak testing (LТ) | General | 135 | 6 | ISO | 20485 | Leak testing - Tracer gas method | 2017 | 138 | 6 | EN ISO | 20485 | Leak testing - Tracer gas method | 2018
9. Leak testing (LТ) | General | [6 empty] | 138 | 6 | EN | 13184 | Leak testing- Pressure change method | 2001+A1:2003
9. Leak testing (LТ) | General | 135 | 6 | ISO | 20486 | Leak testing - Calibration of reference leaks for gases | 2017 | 138 | 6 | EN ISO | 20486 | Leak testing - Calibration of reference leaks for gases | 2018
9. Leak testing (LТ) | General | [6 empty] | 138 | 6 | EN | 1779 | Leak testing - Criteria for method and technique selection | 1999+A1:2003
9. Leak testing (LТ) | General | [6 empty] | 138 | 6 | EN | 1593 | Leak testing - Bubble emission techniques | 1999+A1:2003
9. Leak testing (LТ) | Equipment and tools | [6 empty] | 138 | 6 | EN | 1518 | Leak testing - Characterization of mass spectrometer leak detectors | 1998
9. Leak testing (LТ) | Equipment and tools | [6 empty] | 138 | 6 | EN | 13625 | Leak test - Guide to the selection of instrumentation for the measurement of gas leakage | 2001
9. Leak testing (LТ) | Equipment and tools
9. Leak testing (LТ) | Special technique | 135 | 6 | ISO/DIS | 6366 | Leak testing - Radioactive tracer methods for pressured vessels and underground pipes | -
9. Leak testing (LТ) | General | [8 empty] | BS EN | 13160-1 | Leak detection systems. General principles | 2016
9. Leak testing (LТ) | General | [8 empty] | BS EN | 13160-2 | Leak detection systems. Requirements and test/assessment methods for pressure and vacuum systems | 2016
9. Leak testing (LТ) | Terminology | 135 | 6 | ISO | 20484 | Leak testing - Vocabulary | 2017 | 138 | 6 | EN ISO | 20484 | Leak testing - Vocabulary | 2017
10. Strain gauge testing (ST) | General |  |  |  |  | None Known | [5 empty] | None Known
11. Thermographic testing (TТ) | General | 135 | 8 | ISO | 10880 | Infrared thermography - General principles | 2017 |  |  | BS | 10880 | Infrared thermography - General principles | 2017
11. Thermographic testing (TТ) | General | [6 empty] | 138 | 11 | EN | 16714-1 | Thermographic testing - Part 1: General principles | 2016
11. Thermographic testing (TТ) | General | 135 | 8 | ISO | 22290 | Infrared thermographic testing - General principles for thermoelastic stress measuring method | 2020 |  |  | BS | 22290 | Infrared thermographic testing - General principles for thermoelastic stress measuring method | 2020
11. Thermographic testing (TТ) | General | 135 | 8 | ISO/AWI | 25335 | Thermographic testing - Mechanical and electircal equipment testing | -
11. Thermographic testing (TТ) | Equipment and tools | [6 empty] | 138 | 11 | EN | 16714-2 | Thermographic testing - Part 2: Equipment | 2016
11. Thermographic testing (TТ) | Equipment and tools | 135 | 8 | ISO | 18251-1 | Infrared thermography - Part 1: Characteristics of system and equipment | 2017 |  |  | BS | 18251-1 | Infrared thermography - Part 1: Characteristics of system and equipment | 2017
11. Thermographic testing (TТ) | Equipment and tools | 135 | 8 | ISO | 18251-2 | Infrared thermography - Part 2:Test method for integrated performance of system and equipment | 2023 |  |  | BS | 18251-2 | Infrared thermography - Part 2:Test method for integrated performance of system and equipment | 2023
11. Thermographic testing (TТ) | Special technique | [6 empty] | 138 | 11 | EN | 17119 | Thermographic testing -Active thermography | 2018
11. Thermographic testing (TТ) | Special technique | [6 empty] | 138 | 11 | prEN | - | Pulse termography using optical excitation | -
11. Thermographic testing (TТ) | Special technique | 135 | 8 | ISO/CD | 17501 | Thermographic testing - Active termography with laser excitatoion | - | 138 | 11 | EN | 17501 | Thermographic testing -Active thermography with laser excitation | 2022
11. Thermographic testing (TТ) | Terminology | [6 empty] | 138 | 11 | EN | 16714-3 | Thermographic testing - Part 3: Terms and definitions | 2016
11. Thermographic testing (TТ) | Terminology |  |  | ISO | 10878 | Non-destructive testing. Infrared thermography. Vocabulary |  |  |  | BS | 10878 | Non-destructive testing. Infrared thermography. Vocabulary | 2013
11. Thermographic testing (TТ) | Terminology | 135 | 8 | ISO/CD | 17501 | Thermographic testing - Active termography with laser excitatoion | 2013
12. High Voltage Testing | Welding, Plastic | [8 empty] | BS EN | 13100 | Non-destructive testing of welded joints in thermoplastics semi- finished products. Ultrasonic testing | 2012
13. Space Product | General | [8 empty] | BS EN | 16602-70-15 | Space Product Assurance , Non destructive testing | 2021
14. Split Beam Microscope | Thickness Measurement |  |  | ISO | 17501 | Thermographic testing - Active termography with laser excitatoion |  |  |  | BS EN | 2128 | Anodizing of aluminium and its alloys. Determination of thickness of anodic oxidation coatings. Non-destructive measurement by split- beam microscope | 2010
15. Magnetic Method | Thickness Measurement |  |  | ISO | 2178 | Non-magnetic coatings on magnetic substrates. Measurement of coating thickness. Magnetic method |  |  |  | BS EN | 2178 | Non-magnetic coatings on magnetic substrates. Measurement of coating thickness. Magnetic method | 2016
15. Magnetic Method | Electro Magnetic, Tubes |  |  | ISO | 10893-1 | Non-destructive testing of steel tubes. Automated electromagnetic testing of seamless and welded (except submerged arc-welded) steel tubes for the verification of hydraulic leak-tightness |  |  |  | BS EN | 10893-1 | Non-destructive testing of steel tubes. Automated electromagnetic testing of seamless and welded (except submerged arc-welded) steel tubes for the verification of hydraulic leak-tightness | 2020
15. Magnetic Method | Electro Magnetic, Tubes |  |  | ISO | 10893-2 | Non-destructive testing of steel tubes. Automated eddy current testing of seamless and welded (except submerged arc-welded) steel tubes for the detection of imperfections |  |  |  | BS EN | 10893-2 | Non-destructive testing of steel tubes. Automated eddy current testing of seamless and welded (except submerged arc-welded) steel tubes for the detection of imperfections | 2020
15. Magnetic Method | Electro Magnetic, Tubes |  |  | ISO | 10893-3 | Non-destructive testing of steel tubes. Automated full peripheral flux leakage testing of seamless and welded (except submerged arc- welded) ferromagnetic steel tubes for the detection of longitudinal and/or transverse imperfections |  |  |  | BS EN | 10893-3 | Non-destructive testing of steel tubes. Automated full peripheral flux leakage testing of seamless and welded (except submerged arc- welded) ferromagnetic steel tubes for the detection of longitudinal and/or transverse imperfections | 2020
15. Magnetic Method | Thickness Measurement |  |  | ISO | 2361 | Non-conductive coatings on non-magnetic electrically conductive base metals. Measurement of coating thickness. Amplitude-sensitive eddy current method |  |  |  | BS EN | 2361 | Non-conductive coatings on non-magnetic electrically conductive base metals. Measurement of coating thickness. Amplitude-sensitive eddy current method | 2017
16. Beta Backscatter | Thickness measurement. |  |  | ISO | 3543 | Metallic and non-metallic coatings. Measurement of thickness. Beta backscatter method |  |  |  | BS EN | 3543 | Metallic and non-metallic coatings. Measurement of thickness. Beta backscatter method | 2001
17. Micro -resistivity method | Thickness measurement |  |  | ISO | 14571 | Metallic and other inorganic coatings. Review of methods of measurement of thickness |  |  |  | Bs EN | 14571 | Metallic and other inorganic coatings. Review of methods of measurement of thickness | 2022
18. X-ray Diffraction | Terminology | [8 empty] | BS EN | 1330 | Non-destructive testing. Terminology. Terms used in X-ray diffraction from polycrystalline and amorphous materials | 2007
19. Lazer Shearography | General | [8 empty] | ASTM E | 2518 | Shearography of Polymer Matrix composites and Sandwich Core Materials in Aerospace Applications.
20. Other | Concrete | [8 empty] | DIN EN | 12504-1 | Core Taking | 2021-02
20. Other | Concrete | [8 empty] | BS EN | 12504-2 | Testing concrete in structures. Non-destructive testing. Determination of rebound number | 2021
20. Other | Concrete | [8 empty] | DIN EN | 12504-3 | Pull Out Force | 2005-07
20. Other | Concrete | [8 empty] | BS EN | 12504-4 | Testing concrete in structures. Determination of ultrasonic pulse velocity | 2021
20. Other | Civil Engineering, | [6 empty] | 138 | 7 | EN | 13791 | Assessment of in-situ compressive strength in structures and precast concrete components. | 2020
20. Other | [9 empty] | DIN EN | 12504-5 | Electromagnetic Concrete cover measurement | Draft 2023
20. Other | Concrete | [8 empty] | BS EN | 13863-1 | Concrete pavements. Test method for the determination of the thickness of a concrete pavement by survey method | 2003
20. Other | Equipment and tools | [8 empty] | BS EN | 60706 | Maintainability of equipment. Testability and diagnostic testing | 2007
20. Other | Equipment and tools | [8 empty] | BS EN IEC | 60336 | Medical electrical equipment. X-ray tube assemblies for medical diagnosis. Focal spot dimensions and related characteristics | 2021
20. Other | Cryogenic vessels | [8 empty] | BS EN | 1251-1 | Cryogenic vessels. Transportable vacuum insulated vessels of not more than 1000 litres volume. Design, fabrication, inspection and testing | 2000
20. Other | [9 empty] | BS IEC | 61336 | Nuclear instrumentation. Thickness measurement system utilizing ionizing radiation. Definitions and test methods | 1996
20. Other | Addative Manufacturing | [8 empty] | PAS | 6011 | Additive manufacturing. Non-destructive testing for use in directed energy deposition. Guide | 2020
20. Other | Jewlery |  |  | ISO | 23345 | Jewellery and precious metals. Non-destructive precious metal fineness confirmation by ED-XRF | 2021 |  |  | BS | 23345 | Jewellery and precious metals. Non-destructive precious metal fineness confirmation by ED-XRF | 2021
20. Other | Glass |  |  | ISO | 614 | Ships and marine technology. Toughened safety glass panes for rectangular windows and side scuttles. Punch method of non- destructive strength testing | 2012 |  |  | BS | 614 | Ships and marine technology. Toughened safety glass panes for rectangular windows and side scuttles. Punch method of non- destructive strength testing | 2012
21. Photography and Graphic | Density |  |  | ISO | 5-1 | Photography and graphic technology. Density measurements. Geometry and functional notation | 2009 |  |  | BS | 5-1 | Photography and graphic technology. Density measurements. Geometry and functional notation | 2009
21. Photography and Graphic | Density |  |  | ISO | 5-2 | Photography and graphic technology. Density measurements. Geometric conditions for transmittance density | 2009 |  |  | BS | 5-2 | Photography and graphic technology. Density measurements. Geometric conditions for transmittance density | 2009